## CS CSmicro Kommandos
Kommunikationsmode (bidirektional)
Lese-Kommandos | Header bytes | Antwort | Umsetzung Antwort in Dezimalwert | Beispiel
lese Prozesstemperatur 1) | 3E0200 | word (hiByteLobyte) | Prozesstemperatur [°C] = (Hex Þ Dec(word)-1000)/10 | [1]
lese Kopftemperatur | 3E0202 | word (hiByteLobyte) | Kopftemperatur [°C] = (Hex Þ Dec(word)-1000)/10
lese aktuelle Objekttemperatur 1) | 3E0204 | word (hiByteLobyte) | Objekttemperatur [°C] = (Hex Þ Dec(word)-1000)/10
lese aktuelle Umgebungstemperatur | 3E0206 | word (hiByteLobyte) | Umgebungstemperatur [°C] = (Hex Þ Dec(word)-1000)/10
lese Emissionsgrad | 3E0208 | word (hiByteLobyte) | Emissionsgrad = Hex Þ Dec(word)/1000 | [2]
Schreib-Kommandos | Header bytes | Set value | Erzeugung des set value
setze Emissionsgrad | 3A0208 | word (hiByteLobyte) | word = Dec Þ Hex (Emissionsgrad x 1000) | [3]
einschalten Schleifenwartungs-Modus | 3D026190 | ------ | ------ | [4]
setze Objekttemperatur | 3A0212 | word (hiByteLobyte) | word = Dec Þ Hex (Objekttemperatur [°C] x 10 +1000) | [5]
ausschalten Schleifenwartungs-Modus | 3D026180 | ------ | ------ | [6]
Beispiele | Senden | Empfangen | Bemerkung
[1] lese Prozesstemperatur | 3E0200 | 0519 | Prozesstemp. [°C] = (Hex Þ Dec(0519)-1000)/10 = 30,5
[2] lese aktuellen Emissionsgrad | 3E0208 | 036C | Emissionsgrad = (Hex Þ Dec(036C)/1000) = 0,876
[3] setze Emissionsgrad auf 0,95 | 3A020803B6 | ------ | word = Dec Þ Hex(0,95 x 1000) = 03B6
[4] einschalten Schleifenwartung-Modus | 3D026190 | ------ | ------
[5] setze Ausgang auf 0°C (permanent) | 3A021203E8 | ------ | word = Dec Þ Hex (0 [°C] x 10 +1000) = 03E8
[5] setze Ausgang auf 200°C (permanent) | 3A02120BB8 | ------ | word = Dec Þ Hex (200 [°C] x 10 +1000) = 0BB8
[6] Rückkehr in Standard-Modus | 3D026180 | ------ | ------
1) Wenn peak/ valley hold aktiviert ist, hält die "Prozesstemperatur" den gefundenen Maximal- bzw. Minimalwert während die "aktuelle Objekttemperatur" der tatsächlichen Objekttemperatur (ohne Signalverarbeitung) folgt; im Standardmodus sind "Prozesstemperatur" und "aktuelle Objekttemperatur" identisch.
Burstmode (unidirektional)
Nach Aktivierung wird ein kontinuierliches Signal erzeugt. Der Burst string kann mit Hilfe der CompactConnect Software konfiguriert werden.
Burst string | Beispiel | kompletter Burst string | Umsetzung in Dezimalwert
2 Synchronisations-Bytes: AAAA | ------ |  | ------
2 Bytes für jeden Ausgangswert (hi lo) | 03B8 | AAAA 03B8 | Prozesstemp. [°C] = (Hex Þ Dec(03B8)-1000)/10 = -4,8

## CS CSmicro commands
Communication mode (bidirectional)
Read commands | Header bytes | Response | Conversion Response to Decimal value | Example
read process temperature 1) | 3E0200 | word (hiByteLobyte) | process temp [°C] = (Hex Þ Dec(word)-1000)/10 | [1]
read head temperature | 3E0202 | word (hiByteLobyte) | head temp [°C] = (Hex Þ Dec(word)-1000)/10
read current target temperature 1) | 3E0204 | word (hiByteLobyte) | current temp [°C] = (Hex Þ Dec(word)-1000)/10
read current ambient temperature | 3E0206 | word (hiByteLobyte) | ambient temp [°C] = (Hex Þ Dec(word)-1000)/10
read current emissivity | 3E0208 | word (hiByteLobyte) | emissivity = Hex Þ Dec(word)/1000 | [2]
Set commands | Header bytes | Set value | Generation of the set value
set emissivity | 3A0208 | word (hiByteLobyte) | word = Dec Þ Hex (emissivity x 1000) | [3]
switch on loop maintenance mode | 3D026190 | ------ | ------ | [4]
set target temperature for maintenance | 3A0212 | word (hiByteLobyte) | word = Dec Þ Hex (target temperature [°C] x 10 +1000) | [5]
switch off loop maintenance mode | 3D026180 | ------ | ------ | [6]
Examples | Send | Receive | Comment
[1] read process temperature | 3E0200 | 0519 | process temp [°C] = (Hex Þ Dec(0519)-1000)/10 = 30,5
[2] read current emissivity | 3E0208 | 036C | emissivity = (Hex Þ Dec(036C)/1000) = 0,876
[3] set emissivity to 0,95 | 3A020803B6 | ------ | word = Dec Þ Hex(0,95 x 1000) = 03B6
[4] switch on loop maintenance mode | 3D026190 | ------ | ------
[5] set analog output to 0°C (permanent) | 3A021203E8 | ------ | word = Dec Þ Hex (0 [°C] x 10 +1000) = 03E8
[5] set analog output to 200°C (permanent) | 3A02120BB8 | ------ | word = Dec Þ Hex (200 [°C] x 10 +1000) = 0BB8
[6] return to standard mode | 3D026180 | ------ | ------
1) if peak/ valley hold is activated the "process temperature" holds the detected peak or valley whereas the "current target temperature" shows the real process temperature (without post processing); in standard mode "process temperature" and "current ta
Burstmode (unidirectional)
After switch on a continuous serial signal will be created. The burst string can be configured with CompactConnect software.
Burst string | Example | Complete burst string | Conversion to Decimal value
2 synchronisation bytes: AAAA | ------ |  | ------
2 bytes for each output value (hi lo) | 03B8 | AAAA 03B8 | process temp [°C] = (Hex Þ Dec(03B8)-1000)/10 = -4,8